ÜNİVERSİTE KAMPÜSLERİNİN ÇEVRESEL SÜRDÜRÜLEBİLİRLİĞİ KAPSAMINDA BİR DURUM TESPİTİ

Dr. Öğr. Üyesi Seda TÖZÜM AKGÜL

Isparta Uygulamalı Bilimler Üniversitesi, Yalvaç Teknik Bilimler Meslek Yüksekokulu, Çevre Koruma ve Kontrol, Isparta/Türkiye

ORCID ID:0000-0002-4150-6046, eposta:sedatozum@gmail.com

Özet: Sürdürülebilir kalkınma, küresel olarak en önemli kavramlardan biri haline gelmiştir. Bu bağlamda nüfus ve kentsel özellikler bakımından küçük şehirleri andıran yükseköğretim kampüslerinin hem çevre üzerindeki etkileri hem de üstlendikleri toplumsal sorumlulukları bakımından sürdürülebilirliği sağlamada rolleri büyüktür. Yükseköğretim kurumlarının gelişmesi ve öğrenci sayılarının artmasına paralel olarak enerji ve su tüketimi de hızlı bir şekilde artmaktadır. Kampüslerin etkili bir şekilde yönetilmemesi, personel ve öğrencilerin enerji, su gibi doğal kaynakları etkili bir şekilde kullanmaması, büyük bir enerji ve su sarfiyatına neden olmaktadır. Bu nedenle, kampüslerde yeşil teknolojilerin etkin bir şekilde uygulanması ve yönetilmesi gerekmektedir.

Üniversitelerin araştırma, akademik itibar, eğitim ve çevre performansını ölçen çeşitli sürdürülebilirlik değerlendirme araçları geliştirilmiş ve bu araçlarının kullanımı yaygınlık kazanmıştır. Bu değerlendirme araçlarından biri olan “Yeşil Metrik”, sıralamada araştırma ve eğitim göstergeleri yerine çevresel göstergeleri kullanan ve üniversitelerin sürdürülebilir davranışlarını belirleyen ilk girişimdir.

Amaç: Bu çalışmada, öğrenci ve personel bakımından kayda değer bir nüfusa sahip olan Kılıçarslan Kampüsünün (Yalvaç) çevresel sürdürülebilirlik performansı değerlendirilmiştir. Bunun için öncelikle yeşil kampüs ve çevresel sürdürülebilirlik açısından özel bir sıralama sistemi olan Yeşil Metrik tanıtılmıştır. Daha sonraki kısımda ise kampüsün çevresel sürdürülebilirlik performansı Yeşil Metrikte bulunan altı ana çevre kategorisi (“yerleşim ve altyapı”, “enerji ve iklim değişikliği”, “atıklar”, “su”, “ulaşım”, “eğitim ve araştırma”) kullanılarak incelenmiştir. Kampüsün çevresel sürdürülebilirlik kapsamında ön plana çıkması gereken temel faktörleri belirlenmiş ve eksik yönleri için çözüm önerileri sunulmuştur.

Yöntem: Araştırma, Yeşil Metrik Sıralamasında belirtilen çevresel göstergelere uygun olarak içerisinde iki üniversiteye bağlı üç meslek yüksekokulu ile bir fakülte bulunan Yalvaç Kılıçarslan Kampüsünün çevresel sürdürülebilirlik düzeyinin değerlendirilmesine dayanmaktadır.

Bulgular ve Sonuç: Çevresel sürdürülebilirlik performansını geliştirmek ve Yeşil Kampüs haline gelebilmek için üniversitelerin kampüslerinde çeşitli çevresel sürdürülebilirlik girişimlerinde bulunmaları gerekmektedir. Yalvaç Kılıçarslan Kampüsünün çevresel sürdürülebilirlik girişimleri, Yeşil Metrik göstergelerine göre değerlendirildiğinde 10.000 tam puan üzerinden toplam 3330 puan aldığı belirlenmiştir. Bu değer ortalama bir değer olarak kabul edilebilir. Kampüste bazı çevresel sürdürülebilirlik girişimlerinde bulunulsa da bu konuda atılan adımların yavaş ve yetersiz olduğu görülmektedir. Kampüste enerji ve atık dönüşümü konularında girişimlerde bulunulduğu ve ulaşım kaynaklı karbon ayak izinin düşük olduğu gözlenmiştir. Ancak su tasarrufu ve çevresel farkındalık gibi konularda etkili programların uygulanmasına ve sürdürülebilirlik girişimlerine ihtiyaç duyulmaktadır. Bu kapsamda kampüsün çevresel sürdürülebilirlik girişimleri planına, su tasarrufu, atık minimizasyonu, sera gazı emisyonunun azaltılması, yeşil alanların artırılması, çevre bilgisi ve farkındalık gibi önemli unsurların dâhil edilmesi gerektiği söylenebilir. Bunun yanında kampüste etkili girişim ve iyi uygulamalar yerleştirilerek üniversitenin çevresel sürdürülebilirlik performansı iyileştirilebilir. Bu unsurların dâhil edilmesi, hem çevresel etkileri azaltacak hem de kampüste yer alan kurumların akademik itibarına katkı sağlayacaktır.

Anahtar Kelimeler: Yeşil Kampüs, Sürdürülebilirlik, Yeşil Metrik Sıralaması, Çevresel Durum Değerlendirmesi

DETERMINING OF A SITUATION WITHIN THE SCOPE OF THE ENVIRONMENTAL SUSTAINABILITY OF UNIVERSITY CAMPUSES

Dr. Seda TÖZÜM AKGÜL

Isparta University of Applied Sciences, Yalvaç Technical Sciences Vocational School, Environmental Protection and Control, Isparta/Turkey

Abstract: Sustainable development has become globally one of the most important terms. In this context, higher education campuses, which resemble small cities in terms of populations and urban characteristics, have a great role in ensuring sustainability with regards to both their impact on the environment and their social responsibilities. In parallel with the development of higher education institutions and the increase in the number of students, energy and water consumption is also increasing rapidly. The fact that the campuses are not managed effectively and the staff and students do not use natural resources such as energy and water effectively cause a great energy and water consumption. For this reason, green technologies need to be implemented and managed effectively in campuses.

Various sustainability assessment tools that evaluate the research, academic reputation, education and environmental performance of universities have been developed and the use of these assessment tools has become widespread.  “Green Metric”, one of these assessment tools, is the first initiative to use environmental indicators instead of research and education indicators in the ranking and determine the sustainable behavior of universities.

Purpose: In this study, the environmental sustainability performance of Kılıçarslan Campus (Yalvaç), which has a significant population in terms of students and staff, was evaluated. Therefore, Green Metric, which is a special ranking system in terms of green campus and environmental sustainability was introduced. In the next section, the environmental sustainability performance of the campus was analyzed using the definitions of six main environmental categories (“settlement and infrastructure”, energy and climate change”, “waste”, “water”, “transportation”, “education and research) in Green Metric. The main factors of the campus that should come to the fore within the scope of environmental sustainability were determined and solutions were offered for their deficiencies.

Method: The research is based on the evaluation of the environmental sustainability level of Yalvaç Kılıçarslan Campus, which has three vocational schools and one faculty, in accordance with the environmental indicators specified in the Green Metric World Ranking.

Finding and Results: Universities need to undertake various environmental sustainability initiatives in their campuses in order to improve their environmental sustainability performance and become a Green Campus. When the environmental sustainability initiatives of Yalvaç Kılıçarslan Campus were evaluated according to the Green Metric indicators, it was determined that they received 3330 points over 10.000 points. This value can be regarded as an average value.  Although some environmental sustainability initiatives was made in Yalvaç Kılıçarslan Campus, it was seen that the steps taken in this regard was slow and insufficient. It had been observed that there was initiatives on energy and waste recycling on campus, and the carbon footprint originated from transportation was low. Nevertheless, there is a need for implementation of effective programs and sustainability initiatives  on issues such as water conservation and environmental awareness. In this sense, it could be said that important elements such as water saving, easte minimization, reduction of greenhouse gas emissions, increasing green areas, environmental knowledge and awareness should be included in the environmental sustainability initiatives plan of the campus. In addition, the environmental sustainability performance of the university could be improved by placing effective initiatives and good practices on the campus.   Including these elements will both reduce the environmental impact and contribute to the academic reputation of the institutions on the campus.

Key Words: Green Campus, Sustainability, UI Green Metric Ranking, Environmental Situation Assessment