Technical Losses In Electricity Distribution And System Analysis

İbrahim GÜNEŞ

Istanbul University-Cerrahpaşa, Engineering Faculty,

Electrical and Electronics Eng. Department,

Avcilar, Istanbul, Turkey

gunesi@istanbul.edu.tr

ABSTRACT

The use of electricity has been consistently increasing since the first time it was used, it reach every home over time and become an indispensable element in our life.

In this study, the development of electricity market in Turkey and its final state as a result of current structural reforms are examined.

The process of providing electricity to the customer begins with the creation and subsequent distribution of power. The current system incurs normal operating costs but is also subjected to additional costs due to technical losses in the system. Electricity efficiency, defined as the ratio between electricity input and output, is the dominant measure of inefficiencies in power supply[1,2].

Basically, two types of losses apply to electrical inefficiencies. They are technical and nontechnical losses (NTL). Technical losses are defined as losses that are usually caused by the physical quality of transmission lines and the distribution system. On the other hand, NTLs are ‘‘caused by actions external to the power system’’ Two major contributors of NTLs are power theft and unpaid bills [3-6].

The newly formed structure is tried to be evaluated, and predictions about the cases we could encounter in the future are provided.

To prove the elements of the Lost and Stray items shown in the accounting in the Electricity Distribution Company, to investigate the vanishing point and why in the distribution system to examine the legislation on the subject of the leak purpose and method of distribution companies in the submission of proposals for reducing loss and leakage accompanied by information about the practices to reduce these elements is intended [7-9].

Legislation in losses and leakage issues, losses in the distribution network, use method Leak, leak-loss statistics and Power Distribution Co. suggestions for reducing losses and illegal practices on the theft-loss.

The investigation of the energy distribution system, identifying the missing elements, examining the measures taken to prevent the use of losses and leaks and identification of new methods, losses and benefits to the subscribers of the regional taken into consideration in the bill of contraband items and examination of the damage.

The primary evaluation technique to determine inefficiencies rests in distinguishing two specific classifications of inefficient energy consumption. They are categorized as internal and external losses. Internal losses are also known as technical losses and result from systemic issues that may result from the use of outdated equipment [10-12].

However, external or nontechnical losses are the most significant category of inefficient energy consumption that is widely supported in literature. Subsequently, the main focus in this study will be the costly and most difficult to detect nontechnical distribution losses in Turkish electricity companies. Turkish reform in electricity distribution through the government deregulation has focused on the provision for high quality service while reducing customer costs. [8,13,14] .

Increasing electricity efficiency has been deemed as the most essential way of reducing electricity price and improving power quality. Since nontechnical losses have been recognized as the primary barrier to achieve these goals, the Turkish Government has taken several steps to address both issues. Loss and theft rate of Electricity Distribution Companies  in Turkey are given in Table 1.

We suggest for using 2 major projects and distribution system as well as leakages and losses can be reduced and the system is made more secure and  traceable.

1-Automatic Meter Reading System failure caused by the measurement system providing monitoring of customer consumption missing / over-consumption reduction of loss-leakage with online tracking of interventions are provided , in Boğaziçi Electric Distribution Company.

2-Meter removed from the building outside / sidewalk collected in the field distribution board to operate on the scope of AMR. Thus, the counter made accurate measurements by eliminating the customer response and customer on the cutting block is removed from the debt situation.

TABLE 1. Electricity Distribution Companies in Turkey

| Loss and Theft Rate (%) | Region/Company Name | Region Number |
| --- | --- | --- |
| 64.2 | Dicle Elektrik Dagitim AS. | 1 |
| 55.9 | Vangolu Electrik Dagitim AS. | 2 |
| 27.2 | Aras Elektrik Dagitim AS. | 3 |
| 11.0 | Bogazici Elektrik Dagitim AS. | 17 |
| 10.7 | Coruh Elektrik Dagitim AS. | 4 |
| 10.5 | Firat Elektrik Dagitim AS. | 5 |
| 9.1 | Yesilirmak Elektrik Dagitim AS. | 21 |
| 9.0 | Akdeniz Elektrik Dagitim AS. | 10 |
| 8.9 | Toroslar Elektrik Dagitim AS. | 7 |
| 8.8 | Camlibel Elektrik Dagitim AS. | 6 |
| 8.6 | Istanbul Elektrik Dagitim AS. | 14 |
| 8.4 | Meram Elektrik Dagitim AS. | 8 |
| 8.3 | Baskent Elektrik Dagitim AS. | 9 |
| 7.3 | Goksu Elektrik Dagitim AS. | 20 |
| 7.0 | Trakya Elektrik Dagitim AS. | 13 |
| 7.0 | Kayseri Elektrik Dagitim AS. | 18 |
| 6.3 | Gediz Elektrik Dagitim AS. | 11 |
| 6.3 | Sakarya Elektrik Dagitim AS. | 14 |
| 6.0 | Uludag Elektrik Dagitim AS. | 12 |
| 5.2 | Osmangazi Elektrik Dagitim AS. | 16 |

Key words: Power Distribution, Energy Losses, Illegal Usage, Electricity Market, Distribution Company.

##### References

- A. Akgül Şen, “Özelleştirme Sürecindeki TEDAŞ’ın yeniden yapılandırılması” , Yüksek Lisans Tezi,  Afyon Kocatepe University, 2007

- M. Karamustafaoğlu, “Küresel Enerji Politikaları Ve Türkiye Gerçeği”, TMMOB Türkiye VI. Enerji sempozyumu,  p.298, 2005

- B. Sür, “Türkiye’de Elektrik Enerjisinin Geçmişi, Bugünü ve Gelecek Planlamaları” Yüsek Lisans Tezi, 2007

- T. Biçer , “Elektrik Güç Sistemleri ve Kayıpları”, Dumlupınar University , Master Thesis, July 2009.

- H. Tasdoven, et al., “Improving electricity efficiency in Turkey by addressing illegal electricity consumption : A governance approach. Energy Policy , doi:10.1016/j.enpol.2011.12.059,  2012.

- A. Hepbasli, “Development and restructuring of Turkey’s electricity sector: a review. Renewable and Sustainable Energy Reviews 9 (4), 311–343, 2005.

- T. Cetin, F. Oguz, “The Politics of Regulation in Turkish Electricity Market” Energy Policy 35, 1761–1770, 2007

- E. Erdogdu, “Regulatory reform in Turkish energy industry: An analysis.” Energy Policy 35 (2). 984–993, 2007

- O. Gul, “An Assessment of Power Quality and Electricity Consumer’s Rights in Restructured Electricity Market in Turkey”, Journal of Electrical Power Quality and Utilisation XIV (2), 2008.

- E. Gumusdere, “Theft and losses in Turkish electricity sector: Empirical analysis and implications for tariff design” Unpublished dissertation thesis, Sabanci University, Turkey, 2004.

- T.B. Smith, “ Electricity theft: a comparative analysis.”, Energy Policy 32, 2067–2076, 2004.

- A. Ulusoy, F.  Oguz, “The privatization of electricity distribution in Turkey: A legal and economic analysis”,  Energy Policy 35, 5021–5034, 2007.

- T. Jamasb, P. Pollitt, “ International Benchmarking and regulation: an application to European electricity distribution utilities”,  Energy Policy 31, 1609–1622, 2003.

- S. Berg, C.  Lin, V. Tsaplin, “ Regulation of State-Owned and Privatized Utilities: Ukraine Electricity Distribution Company Performance. Journal of Regulatory Economics 28 (3), 259–287, 2005.